## Sheet1
Line | Item | Discription | Quantity
1 | TRF90 | TR 90 Degree Flip Lens Mount for filters | 1
2 | FB550-40 | Bandpass Filter, CWL = 550 ± 8nm, FWHM = 40 ± 8nm | 1
3 | LMR1 | Lens mounting ring for 1" dia optic #8-32 mounting | 5
4 | ID12 | Iris Diaphragm 1/2" Aperature Mounted on a TR3 | 2
5 | ID25 | Iris Diaphragm 1" Aperature Mounted on a TR3 | 1
6 | AC254-150-A | Ø25.4mm, F=150.0.mm, Visible Achromat | 2
7 | SM1L05 | Stackable lens mount for 1" optic-usable depth 1/2 | 1
8 | AC254-050-A | Ø25.4mm, F=50.0.mm, Visible Achromat | 1
9 | SM1V05 | Ø1" Adjustable Lens Tube, 0.32" Travel Range | 1
10 | AC254-030-A | Ø25.4mm, F=30.0.mm, Visible Achromat | 1
11 | KCP05 | Centering Plate for 1/2" Kinematic Mirror Mount, Metric | 1
12 | BS028 | 25.4mm 90:10 Beamsplitter cube 400-700nm | 1
13 | CCM1-4ER | 30mm 4-Port Prism/Mirror Cage Mount, 8-32 Tap | 1
14 | DCC1645C | CMOS Camera, 1280x1024, Color, USB2.0 | 2
15 | SM1M20 | SM1 Lens Tube 2" Long Extension | 1
16 | SM1EC2B | Snap-On Plastic Dust Cap for SM1 Lens Tubes, 5 Pack | 1
17 | LB1901 | Ø25.4 F=75.0 N-BK7 Bi Convex Lens | 1
18 | LMR1AP | LMR1 Alignment Plate, 1" | 1
19 | MCWHL5 | Mounted LED @ cold White 6500K | 1
20 | LEDD1B | LED driver in a Tcube 1200mA T-Cube LED Driver, 1200 mA Max Drive Current (Power Supply Not Included) | 1
21 | KPS101 | K-Cube Power Supply 15 V, 2.4 A Power Supply Unit for One Kcube or T-Cube | 1
22 | ADAPTER4 US | VEP36 US Adapter Plug - Value for Customs Only $1.00 | 1
23 | SM1RC | SM1 Series Slim Slip Ring | 1
24 | SM1V10 | SM1 Series Variable Lens Tube 1" Travel | 1
25 | ACL2520U-A | Ø25mm, F=20mm, NA=0.60, Aspheric Condenser Lens, -A Coated | 1
26 | SM1RRC | SM1 Retaining Ring, 5mm Thick | 1
27 | PH2 | 2" post holder with spring-loaded thumbscrew | 11
28 | BE1 | Pedestal Base Adapter | 11
29 | CF125 | 6535-003 Rev E, Small Clamping Fork | 13
30 | TR2 | Post : 1/2" Dia . x 2 Length | 12
31 | TR1.5 | Post : 1/2" Dia . x 1.5” Long | 2
32 | EDU-VS1 | Viewing Screen | 1
33 | BA2 | Mounting base 2x3x3/8, 0080-001 Rev F, 002 Rev A | 1
34 | PH1.5 | 1.5" post holder with spring-loaded thumbscrew | 1
35 | PH2E | Pedestal Style Post Holder, 2 inch Ø1/2" Pedestal Post Holder, Spring-Loaded Hex-Locking Thumbscrew, L=2.19" | 4
36 | VA100 | Adjustable Mechanical Slit | 1
37 | RSP1D | Rotation Stage For 1" Optics w/ Calibrated Scale | 1
38 | SM1A6 | SM05 to SM1 Adapter | 1
39 | SM05T2 | SM05 Coupler External Threads | 1
40 | R1L3S3P | Grid Array; 500, 100, 50, and 10 μm Grids, 3" x 1" | 1