## Sheet1
Part Number | Item | Qty | Campany
HNLS008L | Self-Contained HeNe Laser 632.8 nm 0.8 mW Polarized 120 VAC Power Supply | 1 | Thorlabs
BA1L | Mounting Base 1" x 4.5" x 3/8" | 2 | Thorlabs
PF10-03-M01 | Ø1" Protected Gold Mirror | 5 | Thorlabs
KMS | Compact Kinematic Mirror Mount 8-32 Taps for Post Mounting | 5 | Thorlabs
MH25 | Mirror Holder for Ø1" Optics 2.5 - 6.1 mm Thick | 5 | Thorlabs
LSM04-BB | Scan Lens 810 to 890 and 1000 to 1100 nm Dual Wavelength Bands EFL=54 mm | 1 | Thorlabs
SM2A33 | Adapter with External SM2 Threads and Internal M25 x 0.75 Threads | 1 | Thorlabs
LCP06 | 60 mm Cage Plate with Ø2" Double-Bore Optic Mount 8-32 Tap | 2 | Thorlabs
LCP01 | 60 mm Cage Plate SM2 Threads 0.5" Thick 8-32 Tap (Two SM2RR Retaining Rings Included) | 2 | Thorlabs
AC508-200-B-ML | f=200 mm Ø2" Achromatic Doublet SM2-Threaded Mount ARC: 650-1050 nm | 1 | Thorlabs
ER8-P4 | Cage Assembly Rod 8" Long Ø6 mm 4 Pack | 2 | Thorlabs
ER8-P4 | Cage Assembly Rod 8" Long Ø6 mm 4 Pack | 2 | Thorlabs
RS05P8E | Ø1" Pedestal Pillar Post 8-32 Taps L = 0.5" | 2 | Thorlabs
RS1P8E | Ø1" Pedestal Pillar Post 8-32 Taps L = 1" | 2 | Thorlabs
CF125C-P5 | Clamping Fork 1.24" Counterbored Slot 1/4"-20 Captive Screw 5 Pack | 3 | Thorlabs
PH2E | Ø1/2" Pedestal Post Holder Spring-Loaded Hex-Locking Thumbscrew L=2.19" | 8 | Thorlabs
TR2-P5 | Ø1/2" Optical Post SS 8-32 Setscrew 1/4"-20 Tap L = 2" 5 Pack | 2 | Thorlabs
RMS4X | 4X Olympus Plan Achromat Objective 0.10 NA 18.5 mm WD | 1 | Thorlabs
M2M32S | Brass Microscope Adapter with External SM2 Threads and Internal M32 x 0.75 Threads | 1 | Thorlabs
DFM2 | Kinematic Fluorescence Filter Cube 60 mm Cage Compatible Right-Turning 1/4"-20 Tapped Holes | 1 | Thorlabs
LA1050-A-ML | Ø2" N-BK7 Plano-Convex Lens SM2-Threaded Mount f = 100.0 mm ARC: 350-700 nm | 1 | Thorlabs
SM2A31 | Adapter with External C-Mount Threads and Internal SM2 Threads | 1 | Thorlabs
SM2L20 | SM2 Lens Tube 2" Thread Depth One Retaining Ring Included | 1 | Thorlabs
DMLP650R | 25 mm x 36 mm Longpass Dichroic Mirror 650 nm Cut-On | 1 | Thorlabs
MK320S-24 | COMPACT 300 WATT ENCLOSED SWITCHING POWER SUPPLIES | 2 | Astrodyne
6215H | Model 6215H Galvanometer Scanner | 2 | Cambridge technology
67122HHJ-0HP | MicroMax series 671XX single axis class 0 integrating with the high power option servo driveramplifier for the model 6215H galvanometer. Power supply voltages ±24 to ±28V, "A" connector. | 2 | Cambridge technology
6010-36-120 | Interconnect Cable for the 6200B Connector and the Servo A Connector, 3m (120 inch). | 2 | Cambridge technology
6M2208X40S100S1 | 8mm X Mirror for the Model 6215H, Silicon Substrate, Flatness of 1λ, S1 Protected Silver Coating, ±20 deg optical. | 2 | Cambridge technology
#59-179 | Variable High Speed Current Amplifier | 1 | Edmund optics
H7422-40 | photosensor modules | 1 | Hamamatsu
C8137-02 | Power supply unit wuth a temperature control function | 1 | Hamamatsu
PCI-6110 | Multifunction I/O Device | 1 | National Instruments